RFQ #  967716

REF # GI/6311/09/2M

CLOSING DATE: 01/11/09

1 	 FILTER:AIR,DIESEL GENERATOR 		QTY   10 EACH

FILTER,AIR

SPARES FOR DIESEL GENERATOR-MUNDRATECH,

UK ASSEMBLED

MODEL-PR 0060(1991)

PERKINS DIESEL ENGINE MODEL- 6.3544(MECHANICAL)

MFR PART #26510211

2 	 FUEL FILTER, PART # CAT 138-3100 	       QTY  11 EACH

FILTERS FOR CATER PILLAR GENERATOR

ENGINE:

PERKINS 6 CYLINDER WATER

COOLED D/E

LIST # YB 50496

SERIAL # U 691338 F

TPL # 1797 /1500

ENERATOR:

MODEL 2000

CATERPILLAR (OLYMPIAN GENERATOR)

SERIAL # 100484 /77

FRAME/CORE # LL 3014 B

WDG # 6

MODEL # GEP 110

SERIAL # E 4350 E /001

RATED POWER : 100 KVA

RATED VOLTAGE : 80 KW

VOLT : 415/240

FREQUENCY : 50 HZ

CURRENT : 139.1 A

3 	 FUEL FILTER, PART # 26560143 	QTY   10 EACH

FILTERS FOR VISA GENERATOR

ENGINE:

PERKINS 4 CYLINDER WATER

COOLED D/E

LIST # AB 35049

TYPE # F 2501

TPL # 1506/1500

GENERATOR:

MODEL 2001

VISA GENERATOR

MADE IN ITALY

KVA : 70

KW : 56

TYPE : P 75 Cau

SERIAL # 2001.09.0409

ORDER # COM.2001.000150

SPEED : 1500 RPM

SERIAL # 0132431/02

MACHINE ID # 00441818

FRAME / CORE : UCD 224 F

WDG : 311

4 	 FILTER:FUEL,DIESEL GENERATOR 	  QTY   11 EACH

FILTER,FUEL

SPARES FOR DIESEL GENERATOR-MUNDRATECH,

UK ASSEMBLED,MODEL-PR 0060(1991),

RELEVANT PERKINS DIESEL ENGINE MODEL-

6.3544(MECHANICAL)

Mfr PART #: PERKINS 26561117

6 	SPRING:DRIVE WITH EYELET 	  QTY   3  EACH

SPARES FOR TYRE INFLATOR, EXCEL, MODEL# SC-01

SPRING,DRIVE WITH EYELET

Manufacturer part No. 1567064

Vendor Name: HOCKMAN & LEWIS LTD., VEC CODE 020743N / 99519

7 	 O-RING:PUMP 			QTY    2   EACH

O-RING

HDR

SPARES FOR PUMP,MODEL:GVB6500(SEE MEM 226 0048 PAGE 51)

SHDR

======

SPARES FOR PUMP, MODEL:GVB 6500,FOR FIRE FIGHTING VEHICLE KO

DEL:SILV.4000/6000

10 	 BEARING,BALL:DEEP GROOVE,ROW

SINGLE,30MM,72MM,19MM,OPEN

QTY    2   EACH

BEARING,BALL 6306, S-390

FILTER,FUEL

SPARES FOR DIESEL GENERATOR-MUNDRATECH,

UK ASSEMBLED,MODEL-PR 0060(1991),

RELEVANT PERKINS DIESEL ENGINE MODEL-

6.3544(MECHANICAL)

Mfr PART #: PERKINS 26561117

6 	 SPRING:DRIVE WITH EYELET 		QTY   3 EACH

SPARES FOR TYRE INFLATOR, EXCEL, MODEL# SC-01

SPRING,DRIVE WITH EYELET

Manufacturer part No. 1567064

Vendor Name: HOCKMAN & LEWIS LTD., VEC CODE 020743N / 99519

7 	 O-RING:PUMP 		               QTY    2   EACH

O-RING

ITEM

======

O-RING

HDR

SPARES FOR PUMP,MODEL:GVB6500(SEE MEM 226 0048 PAGE 51)

SHDR

SPARES FOR PUMP, MODEL:GVB 6500,FOR FIRE FIGHTING VEHICLE KO

DEL:SILV.4000/6000

10 	 BEARING,BALL:DEEP GROOVE,ROW

SINGLE,30MM,72MM,19MM,OPEN

QTY    2  EACH

BEARING,BALL 6306, S-390

BEARING,BALL 6306, S-390

HDR

SPARES FOR GORMANN RUPP CENTRIFUGAL

PUMP NS-80 MODEL 03H1-GR

SHDR

14 	 GLASS:BEZEL,645 MM X 305 MM,WHITE

QTY   4 EACH

Manufacturer : TOKHEIM SOFITAM APPLICATIONS S.A., FRANCE

SPARES FOR TOKHEIM PUMPS

GLASS,BEZEL,645 X 305MMS,STRIP-OFFWHITE,

645X60MM,8MM FROM EDGE

Manufr. P/No: 218-13-048

VENDOR NAME: TOKHEIM SOFITAM APPLICATIONS,FRANCE - VEC CODE: 057065

16 	BLADE,WIPER: 				QTY   7 EACH

SPARES FOR SILVANI FIRE FIGHTING VEHICLE MODEL NO:SILV 4000/

6000& MOUNTED EQUIPMENTS

VEHICLE:FIRE TRUCK-LM219 & LM221

MODEL:1999 & 2000

CHASSIS NUMBERS:WJME 3TPT 00 C055013 & WJME 3TPT 00 C067012

ENGINE NUMBER:21042K3230-524903 & 8210-42K

TYPE: 380E 37 H

BLADE,WIPER, PART NO.93162770

19 	 DIAPHRAGM:AIR/WATER TOWER 		QTY   51   EACH

DIAPHRAGM

SPARES FOR PCL AIR/WATER TOWERS

PART # SPR 1789

MANUFACTURER ADDRESS: PNEUMATIC COMPONENTS LIMITED.

HOLBROOK RISE,HOLBROOK INDUSRIAL ESTATE,

SHEFFIELD S20 3GE,ENGLAND

TEL : +44(0)1142482712

FAX : +44(0)1142479325

E-MAIL: digital@pcl.org.uk

website: www.pcl.org.uk

20 	 SHAFT:IDLER 					QTY    51 EACH

Manufacturer : TOKHEIM SOFITAM GMBH -

SPARES FOR TOKHEIM GEAR TRAIN ASSY

410058-26

SHAFT,IDLER

MFR PART NO. 001-130280

22 	O-RING:5/8 IN,AIR/ WATER TOWER 		QTY   29 EACH

O RING,SIZE 5/8 ID X 13/16 OD PARKER

HANNIFIN MAKE

SPARES FOR PCL AIR/WATER TOWERS

PART # SPR 7500/54

MANUFACTURER ADDRESS: PNEUMATIC COMPONENTS LIMITED.

HOLBROOK RISE,HOLBROOK INDUSRIAL ESTATE,

SHEFFIELD S20 3GE,ENGLAND

TEL : +44(0)1142482712

FAX : +44(0)1142479325

E-MAIL: digital@pcl.org.uk

website: www.pcl.org.uk

23 	 NUTS, IMPELLER (LEFT & RIGHT) 		QTY   2 SET

SPARE PARTS FOR FIRE WATER PUMP, REDDY BUFFALOES.

KNPC TAG NOS :P-96-16 TO P-96-19

NUTS, IMPELLER (LEFT & RIGHT)Drg. No:D-2194.

FOR FIRE WATER PUMP, REDDY BUFFALOES,

MODEL:8X8DF,

VENDOR REFERENCE:97-3890/2 DF 8,

EQUIPMENT SERIAL NOS:97-3893DF8,

97-3890DF8,97-3891DF8,97-3892DF8,

DRAWING NO:D-2194

MANUFACTURER:REDDY BUFFALOES PUMP INC.,IDIXIED DRIVE,

P.O.BOX.557,BAXLEY,GA31513

LOCAL AGENT;AL-ARFAJ, TEL;4817448

24 	 FILTER:GASOIL SUCTION RETAILER

PUMP,MICRON 90

QTY   5   EACH

SPARES FOR GASOIL SUCTION RETAILER PUMPS-TOKHEIM, MODEL:

QUANTIUM-300T

SHDR

USER INSPECTION & TECHNICAL EVALUATION REQUIRED

FILTER-90 MICRON

MFR PART NO. 901612

25 	 SCREW:ENDLESS WHEEL 		QTY   5 EACH

Manufacturer : TOKHEIM SOFITAM APPLICATIONS S.A., FRANCE

SPARES FOR GASOIL SUCTION RETAILER PUMPS-TOKHEIM, MODEL:

QUANTIUM-300T

SCREW,ENDLESS,WHEEL

Manufacturer Part No. 901280

Manufactuerer Details: Tokheim Sofitam Applications S.A, Paris Nord 2-5, rue des Chardonnerets

BP 40027 Tremblay-en- FRANCE

29 	 FITTING:LUBE 				QTY   2   EACH

FITTING,LUBE

FITTING,LUBE

HDR

SPARES FOR SILVANI FIRE FIGHTING VEHICLE MODEL NO:SILV 4000/

6000& MOUNTED EQUIPMENTS

VEHICLE:FIRE TRUCK-LM219 & LM221

MODEL:1999 & 2000

CHASSIS NUMBERS:WJME 3TPT 00 C055013 & WJME 3TPT 00 C067012

ENGINE NUMBER:21042K3230-524903 & 8210-42K