## 750KVA OVERHAULING
OVERHAULING PARTS FOR 500KVA TESI GAS GEN SET |  |  |  |  | OVERHAULING PARTS FOR 750KVA TESI GAS GEN SET
S/N | DESCRIPTION | QUANTITY | PART NUMBER | ERP CODE | DESCRIPTION | QUANTITY | PART NUMBER
1 | Top Overhauling Kit | 1 | 8SE663G | SPME4903288 | Top Overhauling Kit | 1 | 12SE663Q
2 | Bottom kit | 1 | 8SE663F | SPME4903281 | Bottom kit | 1 | 12SE663R
3 | Exhaust and inlet valve | 32 | SE7R/14 | SPME2G02789 | Exhaust and inlet valve | 48 | SE7R/14
4 | Insert perkins | 32 | 740/98 | SPME0X02637 | Insert perkins | 48 | 740/98
5 | Guide Valve inlet | 16 | 392/42 | SPME4V02353 | Guide Valve inlet | 24 | 392/42
6 | GuideValve exhaust | 16 | SE1/45 | SPME4V02394 | GuideValve exhaust | 24 | SE1/45
7 | Valve Spring | 32 | 365/472 | SPME2G03780 | Valve Spring | 48 | 365/472
8 | Valve collet | 64 | HW7B/18 | SPME2G02812 | Valve collet | 96 | HW7B/18
9 | Alternator belt | 1 | 541/398 | SPME1u00827 | Alternator belt | 1 | 541/398
10 | Spark Plugs | 8 | 486/37 | SPME1I00895 | Spark Plugs | 12 | 486/37
11 | Spark plug H.T lead | 8 | 265/185 | SPME1Q02737 | Spark plug H.T lead | 12 | 265/185
12 | Filter Element | 1 | 26520011 | SPME1804339 | Breather filter | 2 | SEV122/2
13 | Engine oil | 205 |  |  | Engine oil | 205
14 | Oil Filter | 3 | 4324909 | SPME1802984 | Oil Filter | 6 | 4324909
15 | Air Filter | 1 | S551/4 | SPME1800253 | Air Filter | 2 | S551/4
16 | Actuator | 1 | 680/116 | SPME4000921 | Actuator | 2 | 680/116
17 | Oil pressure switch | 2 |  | RMPC0D00081 | Oil pressure switch | 2 | RMPC0D00081
18 | Oil safety switch | 2 | 2848A013 | SPEP0600086 | Oil safety switch | 2 | 2848A013
19 | Water temperature switch | 2 | CV18338/5 | SPME4A00898 | Water temperature switch | 2 | CV18338/5
20 | Conrod bolt | 16 | 363/48 | SPME0D03125 | Conrod bolt | 24 | 363/48
21 | Water pump | 1 | SE145BK | SPME0v04012 | Water pump | 2 | SE145AY (SEV145H)
22 | Control box | 1 | 680/117 | SPME2Z03177 | Control box | 2 | 680/117
23 | Oil pump | 1 | SE116Y | SPME1E08204 | Oil pump | 1 | SEV116R
24 | Turbo charger | 1 | SE652Y | SPME0t02696 | Turbo charger | 2 | SPME0t02879
25 | Charging Alternator | 1 | 702/186 | SPME0G02841 | Charging Alternator | 1 | 702/186
26 | Main bearing kit | 9 | SE574D/M | SPME5200694 | Main bearing kit | 7 | SEV574T
27 | Thrust washer | 2 | 262/149 | SPME1T03798 | Thrust washer | 2 | 262/151
28 | Zero pressure regulator | 1 | 860/300 | SPME2W03970 | Zero pressure regulator | 2 | 860/300
29 | Thermostat | 2 | SE573/1 | SPME0n02661 | Thermostat | 4 | SE573/1
30 | Piston and rings | 8 | SE901A/S | SPME4C02851 | Piston and rings | 12 | SE901A/S
31 | Conrod bearing kit | 8 | SE91AB/3M | SPME5200684 | Conrod bearing kit | 12 | SE91AB/3M
32 | Liner | 8 | SE7E/2 | SPME1p03877 | Liner | 12 | SE7E/2
33 | Push rod | 16 | SE153G | SPME2G02765 | Push rod | 24 | SE153G
34 | Spray jet | 8 | SE121A/50 | SPME3M00268 | Spray jet | 12 | SEV121E/50
35 | Ignition coil BLUE | 8 | 837/3 | SPME4602146 | Plate | 24 | SE7E/27
36 | Plate | 16 | SE7E/27 | SPME3O00373 | Coolant | 210 | SFCODE00001
37 | Coolant | 210 |  | SFCODE00001
TRS OVERHAULING PARTS
S/N | DESCRIPTION | QUANTITY | PART NUMBER | ERP CODE
1 | Top Overhauling Kit for 1000 | 1 | 16SE663T | SPME4903280
2 | Bottom kit for 1000 | 1 | 16SE663R | SPME4903287
3 | Guide Valve inlet | 32 | 392/42 | SPME4V02353
4 | GuideValve exhaust | 32 | SE1/45 | SPME4V02394
5 | Valve Spring | 64 | 365/472 | SPME2G03780
6 | Valve collet | 128 | HW7B/18 | SPME2G02812
7 | Alternator belt | 1 | 541/398 | SPME1u00827
8 | Spark plug H.T lead | 16 | 486/39 | SPME1Q02737
9 | Breather Filter | 2 | SEV122/2 | SPME1800257
10 | Engine oil | 260
11 | Oil Filter | 6 | 4324909 | SPME1802984
12 | Air Filter for 1250 | 2 | SE551C/4 | SPME1800250
13 | Oil pressure switch |  |  | RMPC0D00081
14 | Oil safety switch |  | 2848A013 | SPEP0600086
15 | Water temperature switch |  | CV18338/5 | SPME4A00898
16 | Conrod bolt | 32 | 363/48 | SPME0D03125
17 | Water pump for 1000 | 2 | SEV145H | SPME0V04303
18 | Oil pump 1000KVA | 1 | SEV116Q | SPME2306602
19 | Turbo charger for 1000 | 2 | SE652CQ | SPME0T03820
20 | Main bearing kit 1000KVA | 9 | SEV574T | SPME5201060
21 | Thrust washer 1000KVA | 2 | 262/151 | SPME1T03797
22 | Zero pressure regulator | 2 | 860/300 | SPME2W03970
23 | Thermostat | 4 | SE573/1 | SPME0n02661
24 | Piston and rings | 16 | SE901AQ | SPME4C02852
25 | Conrod bearing kit | 32 | SE91AB/3M | SPME5200684
26 | Liner | 16 | SE7G/2 | SPME1p03877
27 | Liner sleeve rubber | 16 | 576/167 | SPME2m03090
28 | Spray jet 1000KVA | 16 | SEV121E/50 | SPME1B05727
29 | Ignition coil RED | 16 | 837/13 | SPME4602144
30 | Ignition coil BLUE | 16 | 837/3 | SPME4602146
31 | Plate | 32 | SE7E/27 | SPME3O00373
32 | Coolant | 210 |  | SFCODE00001
33 | Actuator for 1250 | 2 | 713/80
34 | Actuator for 1250 | 1 | 713/75
35 | Control box for 1000 | 2
36 | Control box for 500 | 1 | 680/213
37 | Gasket rocker cover | 16 | SE478F | SPME4902321
38 | Valve kit for TRS | 16 | T403470

## 500KVA OVERHAULING
OVERHAULING PARTS FOR 500KVA HEAD OFFICE GAS GEN SET
S/N | DESCRIPTION | QUANTITY | PART NUMBER | ERP CODE
1 | Top Overhauling Kit | 1 | 8SE663G | SPME4903288
2 | Bottom kit | 1 | 8SE663F | SPME4903281
3 | Exhaust and inlet valve | 32 | SE7R/14 | SPME2G02789
4 | Insert perkins | 32 | 740/98 | SPME0X02637
5 | Guide Valve inlet | 16 | 392/42 | SPME4V02353
6 | GuideValve exhaust | 16 | SE1/45 | SPME4V02394
7 | Valve Spring | 32 | 365/472 | SPME2G03780
8 | Valve collet | 64 | HW7B/18 | SPME2G02812
9 | Alternator belt | 1 | 541/398 | SPME1u00827
10 | Spark Plugs | 8 | 486/37 | SPME1I00895
11 | Spark plug H.T lead | 8 | 265/185 | SPME1Q02737
12 | Filter Element | 1 | 26520011 | SPME1804339
13 | Engine oil | 205
14 | Oil Filter | 3 | 4324909 | SPME1802984
15 | Air Filter | 1 | S551/4 | SPME1800253
16 | Actuator | 1 | 680/116 | SPME4000921
17 | Oil pressure switch | 2 |  | RMPC0D00081
18 | Oil safety switch | 2 | 2848A013 | SPEP0600086
19 | Water temperature switch | 2 | CV18338/5 | SPME4A00898
20 | Conrod bolt | 16 | 363/48 | SPME0D03125
21 | Water pump | 1 | SE145BK | SPME0v04012
22 | Control box | 1 | 680/117 | SPME2Z03177
23 | Oil pump | 1 | SE116Y | SPME1E08204
24 | Turbo charger | 1 | SE652Y | SPME0t02696
25 | Charging Alternator | 1 | 702/186 | SPME0G02841
26 | Main bearing kit | 9 | SE574D/M | SPME5200694
27 | Thrust washer | 2 | 262/149 | SPME1T03798
28 | Zero pressure regulator | 1 | 860/300 | SPME2W03970
29 | Thermostat | 2 | SE573/1 | SPME0n02661
30 | Piston and rings | 8 | SE901A/S | SPME4C02851
31 | Conrod bearing kit | 8 | SE91AB/3M | SPME5200684
32 | Liner | 8 | SE7E/2 | SPME1p03877
33 | Push rod | 16 | SE153G | SPME2G02765
34 | Spray jet | 8 | SE121A/50 | SPME3M00268
35 | Ignition coil BLUE | 8 | 837/3 | SPME4602146
36 | Plate | 16 | SE7E/27 | SPME3O00373
37 | Coolant | 210 |  | SFCODE00001

## TESI 1000KVA
1000KVA TESI OVERHAULING LIST
ITEM CODE | DESCRIPTION | QTY
SPME2g02812 | HW7B/18 VALVE COLLECT PAIR PERKINS 4000S 800-2000KVA | 128
SPME1u00827 | 541/398 ALTERNATOR BELT PERKINS 4000S 800-1000KVA | 1
SPME4V02394 | SE1/45 GUIDE PERKINS 4000S GAS 1000KVA GAS | 32
SPME4V02353 | 392/42 (T401899) GUIDE PERKINS 4000S 800-2000KVA | 32
SPME4903287 | 16SE663R GASKET PERKINS 4000S GAS 1000KVA GAS | 1
SPME4903280 | 16SE663T GASKET PERKINS 4000S 1000KVA | 1
SPME2g02789 | SE7R/14(SE7AK/14) EXHAUST & INLET VALVE | 64
SPME0G02841 | 702/186 CHARGING ALTERNATOR PERKINS 4000S | 1
SPME2g03780 | 365/472 VALVE SPRING PERKINS 4000S 800- | 64
SPME1I00895 | 486/37 SPARK PLUG PERKINS 4000S GAS 500- | 16
SPME1Q02737 | 265/185 HIGH TENSSION LED FOR GAS | 16
SPME1800257 | SEV122/2 BREATHER FILTER PERKINS 4000S GAS | 2
RMLU0200019 | ENGINE OIL NATERIA-MH40 | 260
SPME1802984 | SE111B (4324909) OIL FILTER PERKINS 40006 800- | 6
SPME1800253 | S551/4 AIR FILTER PERKINS 40006 800-1000KVA | 2
RMPC0D00081 | OIL SWITCH 10 BAR | 1
SPEP0600086 | 2848A013 OIL SAFETY SWITCH PERKINS 1100S 27- | 2
SPME4A00898 | CV18338/5(CH12893) SWITCH PERKINS 2000S 200- | 1
SPME0D03125 | 363/48 BOLT | 32
SPME0v04303 | SE145AY (SEV145H) WATER PUMP PERKINS | 2
SPME2306602 | SEV116Q OIL PUMP | 1
SPME0t02880 | SE652AV TURBO CHARGER | 2
SPME5201060 | SEV574T BEARING KIT PERKINS 4000S1000- | 9
SPME1T03797 | 262/151 THRUST WASHER PERKINS 4000S 1500- | 2
SPME2w03970 | 860/300 REGULATOR PERKINS 4000S GAS 500 | 2
SPME0n02661 | SE573/1(T402103/T430137) THERMOSTAT | 4
SPME4C02851 | SE901A/S PISTON & RINGS KIT P500-P1000KVA | 16
SPME5200684 | SE91AB/3M CONROD BEARING FOR 800KVA TO | 16
SPME1p03878 | SE7E/2 SLEEVE LINER P800-P1500KVA & P500- | 16
SPME2m03090 | 576/167 LINER SEAL PERKINS 4000S 800-1500KVA | 48
SPME1b05727 | SEV121E/50 OIL COOLING JET FOR 1000KVA GAS | 16
SPME2g02765 | SE153G PUSH ROD VALVE SIDE FOR 800KVA | 32
SPME3O00373 | SE7E/27 PLATE PERKINS 4000S GAS 500-1000KVA | 32
SPME4000921 | 680/116 ACTUATOR PERKINS 4000S GAS 500KVA | 2
SPME2Z03177 | 680/117 CONTROL BOX 24V P800-P1000KVA & | 2
SPME0x02637 | 740/98 INSERT PERKINS 4000S GAS500-100KVA | 64